# hvac

https://www.agoramores.com/home/diy/hvac/portal

Tags: home · diy · hvac · portal

# Hvac

0 pages.

# 1. Core HVAC System Components

- Heating Unit: Furnace (gas, electric, or oil), or heat pump (increasingly common and required to meet new standards).

- Cooling Unit: Central air conditioner or heat pump.

- Air Handler/Blower: Circulates air through the system.

- Ductwork: Supply and return ducts for distributing conditioned air.

- Thermostat: Smart or programmable, required by code for energy efficiency.

- Vents and Registers: For air distribution in each room.

- Refrigerant Lines: Copper tubing connecting outdoor and indoor units.

- Condensate Drain Line: Removes moisture from the system.

- Electrical Connections: Dedicated circuits and disconnects for HVAC.

# 2. New 2025 HVAC Regulations

- Refrigerant: All new residential air conditioners and heat pumps must use A2L refrigerants (such as R-454B or R-32), which have a lower global warming potential. Older refrigerants like R-410A are being phased out, and new systems must be compliant starting January 1, 2025123.

- Efficiency Standards: Systems must meet higher SEER2 (Seasonal Energy Efficiency Ratio) ratings, which are stricter than previous SEER requirements. Minimums have increased nationwide, making new units more energy-efficient467.

- Heat Pump Ready: New builds must include a dedicated 240V circuit for future heat pump installation, even if a gas furnace is initially installed5.

- Smart Thermostats: Required for most new systems to maximize efficiency and meet code requirements5.

- Proper Insulation and Duct Sealing: To meet energy codes and ensure efficiency45.

- Certified Equipment: All HVAC equipment must be certified to meet federal and state energy standards5.

# 3. Additional Required Elements

- Ventilation: Mechanical ventilation (HRV/ERV) for fresh air and humidity control, meeting ASHRAE 62.2 standards4.

- Air Filtration: MERV-rated filters or higher for improved indoor air quality.

- Surge Protection: For sensitive electronic components.

- Condensate Pump: If gravity drainage is not possible.

- Pad or Mounting Bracket: For outdoor condenser unit.

# 4. Installation and Compliance

- Manual J, S, and D Calculations: For proper system sizing, equipment selection, and duct design4.

- Permits and Inspections: Required to ensure code compliance and safe operation.

- Licensed HVAC Contractor: Professional installation is essential for safety, warranty, and efficiency.

# 5. Modern Upgrades (2025)

- Variable-speed compressors and blowers

- Zoned HVAC systems for room-by-room control

- Integrated smart home controls

- Ductless mini-split systems for additions or specific rooms

# Summary Table: 2025 HVAC Hookup Essentials

| Component/Requirement | 2025 Standard/Note |
| --- | --- |
| Furnace/Heat Pump | Must use A2L refrigerant (R-454B, R-32); higher SEER2 efficiency |
| Central AC/Heat Pump | Same as above |
| Ductwork | Properly sized/sealed; insulated to code |
| Thermostat | Smart/programmable required |
| Ventilation (HRV/ERV) | Required for fresh air, humidity control (ASHRAE 62.2) |
| Electrical | Dedicated circuits, exterior disconnect, surge protection |
| Refrigerant Lines | Compatible with A2L refrigerants |
| Permits/Inspections | Mandatory for code compliance |
| Air Filtration | MERV-rated or higher |
| Heat Pump Ready Circuit | Dedicated 240V circuit for future upgrades |

Key Takeaways:

- All new HVAC installs in 2025 must use low-GWP A2L refrigerants and meet tougher efficiency standards.

- Smart thermostats, proper ventilation, and duct sealing are required for compliance and comfort.

- Professional installation and code compliance are essential for safety, efficiency, and warranty coverag

Part of the Leisure wiki. Folders here are generated from tags —
to move a page, change its tags rather than dragging the file.